## Plate 1 - Sheet1
Software Version | 2.01.14
Experiment File Path: | C:\Users\INL2\Documents\VVB\20230224_PB_triton.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2023-02-24
Time | 10:00
Reader Type: | Synergy H1
Reader Serial Number: | 258527
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 1:30:00 (HH:MM:SS), Interval 0:15:00, 7 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 560, Emission: 590
Optics: Top, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
End Kinetic
560590
| Time | T° 560,590 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | 5 | 0 | 0 | 2 | 1 | 0 | 10 | 0 | 13 | 0 | 13 | 0 | 778 | 3221 | 3281 | 3186 | 3172 | 3148 | 3108 | 2874 | 3216 | 2917 | 3608 | 7 | 1121 | 3091 | 3020 | 3150 | 2981 | 2878 | 2998 | 3194 | 3109 | 2971 | 4111 | 3 | 1055 | 2921 | 3186 | 3074 | 3025 | 2923 | 3114 | 2970 | 3235 | 2751 | 2953 | 5 | 11 | 2828 | 3193 | 3149 | 3149 | 3082 | 3034 | 2771 | 2692 | 2751 | 2894 | 5 | 0 | 3097 | 3027 | 2708 | 2758 | 2812 | 2789 | 2649 | 2757 | 2660 | 2400 | 0 | 3 | 2578 | 2481 | 2770 | 2567 | 2746 | 2670 | 2478 | 2630 | 2642 | 2431 | 3 | 0 | 0 | 2 | 6 | 0 | 16 | 3 | 2 | 0 | 11 | 1 | 0
| 0:15 | 35.1 | 3 | 0 | 1 | 0 | 10 | 5 | 8 | 6 | 4 | 6 | 4 | 9 | 974 | 5535 | 5890 | 5346 | 5794 | 6008 | 5654 | 5045 | 5654 | 5226 | 3810 | 0 | 1286 | 5399 | 5453 | 5559 | 5460 | 5603 | 5500 | 5602 | 5437 | 5338 | 4308 | 0 | 1158 | 5106 | 5618 | 5448 | 5804 | 5200 | 5939 | 5375 | 5649 | 5105 | 3211 | 1 | 2 | 4949 | 5328 | 5387 | 5656 | 5400 | 5364 | 4977 | 4800 | 4871 | 3039 | 16 | 0 | 5325 | 5374 | 5003 | 5040 | 5254 | 5238 | 4550 | 5059 | 4831 | 2599 | 5 | 14 | 4485 | 4654 | 4978 | 4698 | 5188 | 5038 | 4664 | 4923 | 4671 | 2691 | 0 | 0 | 12 | 4 | 0 | 13 | 29 | 3 | 0 | 5 | 1 | 7 | 0
| 0:30 | 37 | 4 | 1 | 0 | 6 | 7 | 0 | 16 | 4 | 0 | 0 | 0 | 5 | 1128 | 8791 | 9222 | 8130 | 9031 | 9242 | 8961 | 7712 | 8394 | 7745 | 3862 | 0 | 1430 | 8030 | 8186 | 8108 | 8448 | 8079 | 8501 | 8396 | 7951 | 8014 | 4293 | 18 | 1210 | 7220 | 8621 | 8176 | 9027 | 7752 | 8959 | 7610 | 8182 | 7390 | 3282 | 13 | 8 | 7061 | 7682 | 7836 | 8953 | 8481 | 7968 | 7311 | 7194 | 7196 | 3048 | 0 | 6 | 7710 | 7853 | 7862 | 8080 | 8345 | 8264 | 7083 | 7824 | 7292 | 2610 | 5 | 8 | 6659 | 7341 | 7772 | 7122 | 7957 | 7718 | 7251 | 7306 | 6780 | 2640 | 0 | 0 | 0 | 6 | 0 | 0 | 15 | 1 | 1 | 2 | 18 | 0 | 2
| 0:45 | 37 | 8 | 0 | 2 | 0 | 8 | 8 | 0 | 0 | 14 | 3 | 10 | 0 | 1178 | 11657 | 11923 | 11043 | 11604 | 11882 | 11112 | 9914 | 10447 | 9808 | 3938 | 10 | 1460 | 10454 | 10783 | 10600 | 11435 | 11441 | 10908 | 10826 | 10322 | 10737 | 4405 | 0 | 1210 | 9610 | 11111 | 10938 | 11776 | 10197 | 11378 | 10132 | 10456 | 9564 | 3302 | 0 | 8 | 9369 | 9951 | 10335 | 11452 | 11620 | 9752 | 9600 | 9180 | 9513 | 3117 | 5 | 2 | 10314 | 10726 | 11061 | 10617 | 11205 | 11383 | 9518 | 10290 | 9754 | 2640 | 5 | 16 | 9367 | 9968 | 10767 | 9940 | 10992 | 10289 | 9245 | 9220 | 8945 | 2726 | 7 | 7 | 6 | 4 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 3 | 1
| 1:00 | 36.9 | 8 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 12 | 2 | 5 | 7 | 1227 | 13536 | 13876 | 13265 | 13703 | 13788 | 12902 | 11320 | 11725 | 11318 | 3929 | 0 | 1473 | 12429 | 12909 | 12742 | 13301 | 12621 | 12485 | 12640 | 12044 | 12436 | 4443 | 11 | 1220 | 11900 | 12841 | 12993 | 14375 | 12233 | 12968 | 12363 | 12518 | 11260 | 3316 | 1 | 9 | 11289 | 11540 | 12239 | 13563 | 12809 | 11355 | 11779 | 11003 | 11360 | 3176 | 0 | 0 | 12369 | 12725 | 12786 | 13076 | 13094 | 13974 | 11402 | 12174 | 11757 | 2680 | 20 | 14 | 11289 | 11809 | 12930 | 12032 | 13288 | 12365 | 10670 | 10510 | 10320 | 2758 | 0 | 3 | 12 | 0 | 2 | 4 | 1 | 6 | 2 | 7 | 3 | 0 | 3
| 1:15 | 37 | 6 | 7 | 0 | 6 | 0 | 1 | 11 | 0 | 6 | 4 | 7 | 0 | 1234 | 14756 | 15192 | 14534 | 14549 | 14629 | 13926 | 12312 | 12582 | 11943 | 3932 | 0 | 1508 | 13444 | 13738 | 13747 | 14213 | 13881 | 13907 | 13779 | 12348 | 13118 | 4441 | 13 | 1243 | 12651 | 13760 | 14353 | 14659 | 13661 | 13758 | 13508 | 13343 | 11999 | 3369 | 4 | 1 | 12282 | 12218 | 13473 | 15506 | 14582 | 11982 | 12697 | 12034 | 12363 | 3208 | 0 | 14 | 13206 | 13437 | 15024 | 13597 | 14963 | 15049 | 12558 | 12853 | 12639 | 2737 | 8 | 0 | 12422 | 13362 | 14293 | 13677 | 14286 | 13198 | 10979 | 11149 | 11099 | 2817 | 12 | 3 | 9 | 4 | 0 | 0 | 5 | 18 | 0 | 9 | 5 | 8 | 5
| 1:30 | 37 | 17 | 5 | 0 | 0 | 0 | 11 | 6 | 0 | 9 | 15 | 8 | 4 | 1278 | 14852 | 15638 | 15148 | 14814 | 14589 | 14205 | 12673 | 12636 | 11990 | 3980 | 8 | 1531 | 13898 | 13735 | 13624 | 13672 | 13413 | 13383 | 13552 | 12545 | 13082 | 4417 | 2 | 1261 | 12723 | 13688 | 14489 | 14324 | 13010 | 13564 | 12943 | 13253 | 12135 | 3381 | 0 | 2 | 12841 | 12396 | 12754 | 13958 | 13517 | 11581 | 12498 | 12040 | 12778 | 3231 | 16 | 8 | 13654 | 14002 | 14317 | 13558 | 14182 | 15168 | 12662 | 13283 | 13002 | 2775 | 9 | 3 | 13124 | 13770 | 14612 | 13973 | 14743 | 13721 | 11551 | 11503 | 11365 | 2846 | 8 | 6 | 15 | 5 | 0 | 3 | 0 | 0 | 8 | 0 | 13 | 2 | 10
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 733.333 | 466.667 | 133.333 | 400 | 600 | 666.667 | -1066.667 | 400 | 933.333 | 733.333 | 666.667 | 600 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:22 | 1:08 | 0:38 | 0:22 | 0:08 | 1:22 | 0:38 | 0:08 | 0:38 | 1:22 | 0:38 | 0:08 | t at Max V [560,590]
|  | 1:14 | 1:00 | 0:30 | 0:20 | 0:00 | 1:14 | 0:36 | 0:00 | 0:44 | 1:10 | 0:49 | 0:00 | Lagtime [560,590]
| B | 13066.667 | 217066.667 | 222133.333 | 194200 | 215800 | 215600 | 220466.667 | 177800 | 182666.667 | 167933.333 | 13466.667 | 666.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:22 | 0:22 | 0:22 | 0:08 | 0:38 | t at Max V [560,590]
|  | 0:00 | 0:04 | 0:03 | 0:05 | 0:03 | 0:02 | 0:03 | 0:03 | 0:02 | 0:01 | 0:00 | 0:40 | Lagtime [560,590]
| C | 11000 | 175400 | 182200 | 169933.333 | 199200 | 224133.333 | 200066.667 | 186266.667 | 167600 | 181533.333 | 13133.333 | 1200 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:22 | 0:22 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:08 | 0:22 | t at Max V [560,590]
|  | 0:00 | 0:02 | 0:02 | 0:01 | 0:03 | 0:07 | 0:02 | 0:02 | 0:01 | 0:02 | 0:00 | 0:18 | Lagtime [560,590]
| D | 6866.667 | 159333.333 | 200200 | 184133.333 | 214866.667 | 170133.333 | 201333.333 | 168133.333 | 168866.667 | 156933.333 | 17200 | -866.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:38 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:22 | 0:08 | 0:08 | 0:38 | t at Max V [560,590]
|  | 0:00 | 0:03 | 0:03 | 0:02 | 0:02 | 0:02 | 0:01 | 0:02 | 0:01 | 0:00 | 0:00 | 0:39 | Lagtime [560,590]
| E | -600 | 153866.667 | 156933.333 | 166600 | 219800 | 209266.667 | 173600 | 155600 | 159600 | 155000 | 9666.667 | -1066.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:38 | 0:22 | 0:38 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:22 | 0:08 | 0:22 | t at Max V [560,590]
|  | 0:00 | 0:02 | 0:01 | 0:02 | 0:04 | 0:04 | 0:02 | 0:01 | 0:02 | 0:01 | 0:00 | 0:25 | Lagtime [560,590]
| F | 933.333 | 173600 | 191533.333 | 213266.667 | 202666.667 | 206066.667 | 207933.333 | 168866.667 | 184333.333 | 164133.333 | 13266.667 | 1000 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:08 | 0:38 | 0:38 | 0:38 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:38 | 0:08 | 0:52 | t at Max V [560,590]
|  | 1:00 | 0:03 | 0:05 | 0:06 | 0:04 | 0:03 | 0:04 | 0:04 | 0:03 | 0:02 | 0:00 | 0:40 | Lagtime [560,590]
| G | -933.333 | 180533.333 | 179133.333 | 199666.667 | 187866.667 | 202333.333 | 178666.667 | 172466.667 | 158866.667 | 144333.333 | 17333.333 | 800 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:08 | 0:38 | 0:22 | 0:38 | 0:38 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:08 | 1:08 | t at Max V [560,590]
|  | 1:12 | 0:07 | 0:03 | 0:05 | 0:06 | 0:04 | 0:02 | 0:02 | 0:01 | 0:01 | 0:00 | 1:04 | Lagtime [560,590]
| H | 466.667 | 800 | -266.667 | -400 | 866.667 | -1000 | -1200 | 533.333 | 1333.333 | -1200 | 533.333 | 333.333 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:38 | 0:08 | 0:52 | 0:08 | 0:08 | 0:38 | 1:22 | 1:22 | 0:38 | 0:38 | 1:08 | 1:22 | t at Max V [560,590]
|  | 0:30 | 0:00 | 0:52 | 0:00 | 0:00 | 0:29 | 1:28 | 1:19 | 0:28 | 0:36 | 1:02 | 1:00 | Lagtime [560,590]

## Plate 1 - Sheet1 (1)
Software Version | 2.01.14
Experiment File Path: | C:\Users\INL2\Documents\VVB\20230224_PB_triton.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2023-02-24
Time | 10:00
Reader Type: | Synergy H1
Reader Serial Number: | 258527
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 1:30:00 (HH:MM:SS), Interval 0:15:00, 7 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 560, Emission: 590
Optics: Top, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
End Kinetic
560590
| Time | T° 560,590 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | 5 | 0 | 0 | 2 | 1 | 0 | 10 | 0 | 13 | 0 | 13 | 0 | 778 | 3221 | 3281 | 3186 | 3172 | 3148 | 3108 | 2874 | 3216 | 2917 | 3608 | 7 | 1121 | 3091 | 3020 | 3150 | 2981 | 2878 | 2998 | 3194 | 3109 | 2971 | 4111 | 3 | 1055 | 2921 | 3186 | 3074 | 3025 | 2923 | 3114 | 2970 | 3235 | 2751 | 2953 | 5 | 11 | 2828 | 3193 | 3149 | 3149 | 3082 | 3034 | 2771 | 2692 | 2751 | 2894 | 5 | 0 | 3097 | 3027 | 2708 | 2758 | 2812 | 2789 | 2649 | 2757 | 2660 | 2400 | 0 | 3 | 2578 | 2481 | 2770 | 2567 | 2746 | 2670 | 2478 | 2630 | 2642 | 2431 | 3 | 0 | 0 | 2 | 6 | 0 | 16 | 3 | 2 | 0 | 11 | 1 | 0
| 0:15 | 35.1 | 3 | 0 | 1 | 0 | 10 | 5 | 8 | 6 | 4 | 6 | 4 | 9 | 974 | 5535 | 5890 | 5346 | 5794 | 6008 | 5654 | 5045 | 5654 | 5226 | 3810 | 0 | 1286 | 5399 | 5453 | 5559 | 5460 | 5603 | 5500 | 5602 | 5437 | 5338 | 4308 | 0 | 1158 | 5106 | 5618 | 5448 | 5804 | 5200 | 5939 | 5375 | 5649 | 5105 | 3211 | 1 | 2 | 4949 | 5328 | 5387 | 5656 | 5400 | 5364 | 4977 | 4800 | 4871 | 3039 | 16 | 0 | 5325 | 5374 | 5003 | 5040 | 5254 | 5238 | 4550 | 5059 | 4831 | 2599 | 5 | 14 | 4485 | 4654 | 4978 | 4698 | 5188 | 5038 | 4664 | 4923 | 4671 | 2691 | 0 | 0 | 12 | 4 | 0 | 13 | 29 | 3 | 0 | 5 | 1 | 7 | 0
| 0:30 | 37 | 4 | 1 | 0 | 6 | 7 | 0 | 16 | 4 | 0 | 0 | 0 | 5 | 1128 | 8791 | 9222 | 8130 | 9031 | 9242 | 8961 | 7712 | 8394 | 7745 | 3862 | 0 | 1430 | 8030 | 8186 | 8108 | 8448 | 8079 | 8501 | 8396 | 7951 | 8014 | 4293 | 18 | 1210 | 7220 | 8621 | 8176 | 9027 | 7752 | 8959 | 7610 | 8182 | 7390 | 3282 | 13 | 8 | 7061 | 7682 | 7836 | 8953 | 8481 | 7968 | 7311 | 7194 | 7196 | 3048 | 0 | 6 | 7710 | 7853 | 7862 | 8080 | 8345 | 8264 | 7083 | 7824 | 7292 | 2610 | 5 | 8 | 6659 | 7341 | 7772 | 7122 | 7957 | 7718 | 7251 | 7306 | 6780 | 2640 | 0 | 0 | 0 | 6 | 0 | 0 | 15 | 1 | 1 | 2 | 18 | 0 | 2
| 0:45 | 37 | 8 | 0 | 2 | 0 | 8 | 8 | 0 | 0 | 14 | 3 | 10 | 0 | 1178 | 11657 | 11923 | 11043 | 11604 | 11882 | 11112 | 9914 | 10447 | 9808 | 3938 | 10 | 1460 | 10454 | 10783 | 10600 | 11435 | 11441 | 10908 | 10826 | 10322 | 10737 | 4405 | 0 | 1210 | 9610 | 11111 | 10938 | 11776 | 10197 | 11378 | 10132 | 10456 | 9564 | 3302 | 0 | 8 | 9369 | 9951 | 10335 | 11452 | 11620 | 9752 | 9600 | 9180 | 9513 | 3117 | 5 | 2 | 10314 | 10726 | 11061 | 10617 | 11205 | 11383 | 9518 | 10290 | 9754 | 2640 | 5 | 16 | 9367 | 9968 | 10767 | 9940 | 10992 | 10289 | 9245 | 9220 | 8945 | 2726 | 7 | 7 | 6 | 4 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 3 | 1
| 1:00 | 36.9 | 8 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 12 | 2 | 5 | 7 | 1227 | 13536 | 13876 | 13265 | 13703 | 13788 | 12902 | 11320 | 11725 | 11318 | 3929 | 0 | 1473 | 12429 | 12909 | 12742 | 13301 | 12621 | 12485 | 12640 | 12044 | 12436 | 4443 | 11 | 1220 | 11900 | 12841 | 12993 | 14375 | 12233 | 12968 | 12363 | 12518 | 11260 | 3316 | 1 | 9 | 11289 | 11540 | 12239 | 13563 | 12809 | 11355 | 11779 | 11003 | 11360 | 3176 | 0 | 0 | 12369 | 12725 | 12786 | 13076 | 13094 | 13974 | 11402 | 12174 | 11757 | 2680 | 20 | 14 | 11289 | 11809 | 12930 | 12032 | 13288 | 12365 | 10670 | 10510 | 10320 | 2758 | 0 | 3 | 12 | 0 | 2 | 4 | 1 | 6 | 2 | 7 | 3 | 0 | 3
| 1:15 | 37 | 6 | 7 | 0 | 6 | 0 | 1 | 11 | 0 | 6 | 4 | 7 | 0 | 1234 | 14756 | 15192 | 14534 | 14549 | 14629 | 13926 | 12312 | 12582 | 11943 | 3932 | 0 | 1508 | 13444 | 13738 | 13747 | 14213 | 13881 | 13907 | 13779 | 12348 | 13118 | 4441 | 13 | 1243 | 12651 | 13760 | 14353 | 14659 | 13661 | 13758 | 13508 | 13343 | 11999 | 3369 | 4 | 1 | 12282 | 12218 | 13473 | 15506 | 14582 | 11982 | 12697 | 12034 | 12363 | 3208 | 0 | 14 | 13206 | 13437 | 15024 | 13597 | 14963 | 15049 | 12558 | 12853 | 12639 | 2737 | 8 | 0 | 12422 | 13362 | 14293 | 13677 | 14286 | 13198 | 10979 | 11149 | 11099 | 2817 | 12 | 3 | 9 | 4 | 0 | 0 | 5 | 18 | 0 | 9 | 5 | 8 | 5
| 1:30 | 37 | 17 | 5 | 0 | 0 | 0 | 11 | 6 | 0 | 9 | 15 | 8 | 4 | 1278 | 14852 | 15638 | 15148 | 14814 | 14589 | 14205 | 12673 | 12636 | 11990 | 3980 | 8 | 1531 | 13898 | 13735 | 13624 | 13672 | 13413 | 13383 | 13552 | 12545 | 13082 | 4417 | 2 | 1261 | 12723 | 13688 | 14489 | 14324 | 13010 | 13564 | 12943 | 13253 | 12135 | 3381 | 0 | 2 | 12841 | 12396 | 12754 | 13958 | 13517 | 11581 | 12498 | 12040 | 12778 | 3231 | 16 | 8 | 13654 | 14002 | 14317 | 13558 | 14182 | 15168 | 12662 | 13283 | 13002 | 2775 | 9 | 3 | 13124 | 13770 | 14612 | 13973 | 14743 | 13721 | 11551 | 11503 | 11365 | 2846 | 8 | 6 | 15 | 5 | 0 | 3 | 0 | 0 | 8 | 0 | 13 | 2 | 10
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 733.333 | 466.667 | 133.333 | 400 | 600 | 666.667 | -1066.667 | 400 | 933.333 | 733.333 | 666.667 | 600 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:22 | 1:08 | 0:38 | 0:22 | 0:08 | 1:22 | 0:38 | 0:08 | 0:38 | 1:22 | 0:38 | 0:08 | t at Max V [560,590]
|  | 1:14 | 1:00 | 0:30 | 0:20 | 0:00 | 1:14 | 0:36 | 0:00 | 0:44 | 1:10 | 0:49 | 0:00 | Lagtime [560,590]
| B | 13066.667 | 217066.667 | 222133.333 | 194200 | 215800 | 215600 | 220466.667 | 177800 | 182666.667 | 167933.333 | 13466.667 | 666.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:22 | 0:22 | 0:22 | 0:08 | 0:38 | t at Max V [560,590]
|  | 0:00 | 0:04 | 0:03 | 0:05 | 0:03 | 0:02 | 0:03 | 0:03 | 0:02 | 0:01 | 0:00 | 0:40 | Lagtime [560,590]
| C | 11000 | 175400 | 182200 | 169933.333 | 199200 | 224133.333 | 200066.667 | 186266.667 | 167600 | 181533.333 | 13133.333 | 1200 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:22 | 0:22 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:08 | 0:22 | t at Max V [560,590]
|  | 0:00 | 0:02 | 0:02 | 0:01 | 0:03 | 0:07 | 0:02 | 0:02 | 0:01 | 0:02 | 0:00 | 0:18 | Lagtime [560,590]
| D | 6866.667 | 159333.333 | 200200 | 184133.333 | 214866.667 | 170133.333 | 201333.333 | 168133.333 | 168866.667 | 156933.333 | 17200 | -866.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:38 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:22 | 0:08 | 0:08 | 0:38 | t at Max V [560,590]
|  | 0:00 | 0:03 | 0:03 | 0:02 | 0:02 | 0:02 | 0:01 | 0:02 | 0:01 | 0:00 | 0:00 | 0:39 | Lagtime [560,590]
| E | -600 | 153866.667 | 156933.333 | 166600 | 219800 | 209266.667 | 173600 | 155600 | 159600 | 155000 | 9666.667 | -1066.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:38 | 0:22 | 0:38 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:22 | 0:08 | 0:22 | t at Max V [560,590]
|  | 0:00 | 0:02 | 0:01 | 0:02 | 0:04 | 0:04 | 0:02 | 0:01 | 0:02 | 0:01 | 0:00 | 0:25 | Lagtime [560,590]
| F | 933.333 | 173600 | 191533.333 | 213266.667 | 202666.667 | 206066.667 | 207933.333 | 168866.667 | 184333.333 | 164133.333 | 13266.667 | 1000 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:08 | 0:38 | 0:38 | 0:38 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:38 | 0:08 | 0:52 | t at Max V [560,590]
|  | 1:00 | 0:03 | 0:05 | 0:06 | 0:04 | 0:03 | 0:04 | 0:04 | 0:03 | 0:02 | 0:00 | 0:40 | Lagtime [560,590]
| G | -933.333 | 180533.333 | 179133.333 | 199666.667 | 187866.667 | 202333.333 | 178666.667 | 172466.667 | 158866.667 | 144333.333 | 17333.333 | 800 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:08 | 0:38 | 0:22 | 0:38 | 0:38 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:08 | 1:08 | t at Max V [560,590]
|  | 1:12 | 0:07 | 0:03 | 0:05 | 0:06 | 0:04 | 0:02 | 0:02 | 0:01 | 0:01 | 0:00 | 1:04 | Lagtime [560,590]
| H | 466.667 | 800 | -266.667 | -400 | 866.667 | -1000 | -1200 | 533.333 | 1333.333 | -1200 | 533.333 | 333.333 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:38 | 0:08 | 0:52 | 0:08 | 0:08 | 0:38 | 1:22 | 1:22 | 0:38 | 0:38 | 1:08 | 1:22 | t at Max V [560,590]
|  | 0:30 | 0:00 | 0:52 | 0:00 | 0:00 | 0:29 | 1:28 | 1:19 | 0:28 | 0:36 | 1:02 | 1:00 | Lagtime [560,590]

## Plate 1 - Sheet1 (2)
Software Version | 2.01.14
Experiment File Path: | C:\Users\INL2\Documents\VVB\20230224_PB_triton.xpt |  |  | A549 seeded at 10k cells/well on 20.02 and exposed to triton X-100 19h before this test
Protocol File Path:
Plate Number | Plate 1
Date | 2023-02-24
Time | 10:00
Reader Type: | Synergy H1
Reader Serial Number: | 258527
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 1:30:00 (HH:MM:SS), Interval 0:15:00, 7 Reads
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 560, Emission: 590
Optics: Top, Gain: 70
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
End Kinetic
560590
| Time | T° 560,590 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:00 | 25 | 5 | 0 | 0 | 2 | 1 | 0 | 10 | 0 | 13 | 0 | 13 | 0 | 778 | 3221 | 3281 | 3186 | 3172 | 3148 | 3108 | 2874 | 3216 | 2917 | 3608 | 7 | 1121 | 3091 | 3020 | 3150 | 2981 | 2878 | 2998 | 3194 | 3109 | 2971 | 4111 | 3 | 1055 | 2921 | 3186 | 3074 | 3025 | 2923 | 3114 | 2970 | 3235 | 2751 | 2953 | 5 | 11 | 2828 | 3193 | 3149 | 3149 | 3082 | 3034 | 2771 | 2692 | 2751 | 2894 | 5 | 0 | 3097 | 3027 | 2708 | 2758 | 2812 | 2789 | 2649 | 2757 | 2660 | 2400 | 0 | 3 | 2578 | 2481 | 2770 | 2567 | 2746 | 2670 | 2478 | 2630 | 2642 | 2431 | 3 | 0 | 0 | 2 | 6 | 0 | 16 | 3 | 2 | 0 | 11 | 1 | 0
| 0:15 | 35.1 | 3 | 0 | 1 | 0 | 10 | 5 | 8 | 6 | 4 | 6 | 4 | 9 | 974 | 5535 | 5890 | 5346 | 5794 | 6008 | 5654 | 5045 | 5654 | 5226 | 3810 | 0 | 1286 | 5399 | 5453 | 5559 | 5460 | 5603 | 5500 | 5602 | 5437 | 5338 | 4308 | 0 | 1158 | 5106 | 5618 | 5448 | 5804 | 5200 | 5939 | 5375 | 5649 | 5105 | 3211 | 1 | 2 | 4949 | 5328 | 5387 | 5656 | 5400 | 5364 | 4977 | 4800 | 4871 | 3039 | 16 | 0 | 5325 | 5374 | 5003 | 5040 | 5254 | 5238 | 4550 | 5059 | 4831 | 2599 | 5 | 14 | 4485 | 4654 | 4978 | 4698 | 5188 | 5038 | 4664 | 4923 | 4671 | 2691 | 0 | 0 | 12 | 4 | 0 | 13 | 29 | 3 | 0 | 5 | 1 | 7 | 0
| 0:30 | 37 | 4 | 1 | 0 | 6 | 7 | 0 | 16 | 4 | 0 | 0 | 0 | 5 | 1128 | 8791 | 9222 | 8130 | 9031 | 9242 | 8961 | 7712 | 8394 | 7745 | 3862 | 0 | 1430 | 8030 | 8186 | 8108 | 8448 | 8079 | 8501 | 8396 | 7951 | 8014 | 4293 | 18 | 1210 | 7220 | 8621 | 8176 | 9027 | 7752 | 8959 | 7610 | 8182 | 7390 | 3282 | 13 | 8 | 7061 | 7682 | 7836 | 8953 | 8481 | 7968 | 7311 | 7194 | 7196 | 3048 | 0 | 6 | 7710 | 7853 | 7862 | 8080 | 8345 | 8264 | 7083 | 7824 | 7292 | 2610 | 5 | 8 | 6659 | 7341 | 7772 | 7122 | 7957 | 7718 | 7251 | 7306 | 6780 | 2640 | 0 | 0 | 0 | 6 | 0 | 0 | 15 | 1 | 1 | 2 | 18 | 0 | 2
| 0:45 | 37 | 8 | 0 | 2 | 0 | 8 | 8 | 0 | 0 | 14 | 3 | 10 | 0 | 1178 | 11657 | 11923 | 11043 | 11604 | 11882 | 11112 | 9914 | 10447 | 9808 | 3938 | 10 | 1460 | 10454 | 10783 | 10600 | 11435 | 11441 | 10908 | 10826 | 10322 | 10737 | 4405 | 0 | 1210 | 9610 | 11111 | 10938 | 11776 | 10197 | 11378 | 10132 | 10456 | 9564 | 3302 | 0 | 8 | 9369 | 9951 | 10335 | 11452 | 11620 | 9752 | 9600 | 9180 | 9513 | 3117 | 5 | 2 | 10314 | 10726 | 11061 | 10617 | 11205 | 11383 | 9518 | 10290 | 9754 | 2640 | 5 | 16 | 9367 | 9968 | 10767 | 9940 | 10992 | 10289 | 9245 | 9220 | 8945 | 2726 | 7 | 7 | 6 | 4 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 3 | 1
| 1:00 | 36.9 | 8 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 12 | 2 | 5 | 7 | 1227 | 13536 | 13876 | 13265 | 13703 | 13788 | 12902 | 11320 | 11725 | 11318 | 3929 | 0 | 1473 | 12429 | 12909 | 12742 | 13301 | 12621 | 12485 | 12640 | 12044 | 12436 | 4443 | 11 | 1220 | 11900 | 12841 | 12993 | 14375 | 12233 | 12968 | 12363 | 12518 | 11260 | 3316 | 1 | 9 | 11289 | 11540 | 12239 | 13563 | 12809 | 11355 | 11779 | 11003 | 11360 | 3176 | 0 | 0 | 12369 | 12725 | 12786 | 13076 | 13094 | 13974 | 11402 | 12174 | 11757 | 2680 | 20 | 14 | 11289 | 11809 | 12930 | 12032 | 13288 | 12365 | 10670 | 10510 | 10320 | 2758 | 0 | 3 | 12 | 0 | 2 | 4 | 1 | 6 | 2 | 7 | 3 | 0 | 3
| 1:15 | 37 | 6 | 7 | 0 | 6 | 0 | 1 | 11 | 0 | 6 | 4 | 7 | 0 | 1234 | 14756 | 15192 | 14534 | 14549 | 14629 | 13926 | 12312 | 12582 | 11943 | 3932 | 0 | 1508 | 13444 | 13738 | 13747 | 14213 | 13881 | 13907 | 13779 | 12348 | 13118 | 4441 | 13 | 1243 | 12651 | 13760 | 14353 | 14659 | 13661 | 13758 | 13508 | 13343 | 11999 | 3369 | 4 | 1 | 12282 | 12218 | 13473 | 15506 | 14582 | 11982 | 12697 | 12034 | 12363 | 3208 | 0 | 14 | 13206 | 13437 | 15024 | 13597 | 14963 | 15049 | 12558 | 12853 | 12639 | 2737 | 8 | 0 | 12422 | 13362 | 14293 | 13677 | 14286 | 13198 | 10979 | 11149 | 11099 | 2817 | 12 | 3 | 9 | 4 | 0 | 0 | 5 | 18 | 0 | 9 | 5 | 8 | 5
| 1:30 | 37 | 17 | 5 | 0 | 0 | 0 | 11 | 6 | 0 | 9 | 15 | 8 | 4 | 1278 | 14852 | 15638 | 15148 | 14814 | 14589 | 14205 | 12673 | 12636 | 11990 | 3980 | 8 | 1531 | 13898 | 13735 | 13624 | 13672 | 13413 | 13383 | 13552 | 12545 | 13082 | 4417 | 2 | 1261 | 12723 | 13688 | 14489 | 14324 | 13010 | 13564 | 12943 | 13253 | 12135 | 3381 | 0 | 2 | 12841 | 12396 | 12754 | 13958 | 13517 | 11581 | 12498 | 12040 | 12778 | 3231 | 16 | 8 | 13654 | 14002 | 14317 | 13558 | 14182 | 15168 | 12662 | 13283 | 13002 | 2775 | 9 | 3 | 13124 | 13770 | 14612 | 13973 | 14743 | 13721 | 11551 | 11503 | 11365 | 2846 | 8 | 6 | 15 | 5 | 0 | 3 | 0 | 0 | 8 | 0 | 13 | 2 | 10
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 733.333 | 466.667 | 133.333 | 400 | 600 | 666.667 | -1066.667 | 400 | 933.333 | 733.333 | 666.667 | 600 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:22 | 1:08 | 0:38 | 0:22 | 0:08 | 1:22 | 0:38 | 0:08 | 0:38 | 1:22 | 0:38 | 0:08 | t at Max V [560,590]
|  | 1:14 | 1:00 | 0:30 | 0:20 | 0:00 | 1:14 | 0:36 | 0:00 | 0:44 | 1:10 | 0:49 | 0:00 | Lagtime [560,590]
| B | 13066.667 | 217066.667 | 222133.333 | 194200 | 215800 | 215600 | 220466.667 | 177800 | 182666.667 | 167933.333 | 13466.667 | 666.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:22 | 0:22 | 0:22 | 0:08 | 0:38 | t at Max V [560,590]
|  | 0:00 | 0:04 | 0:03 | 0:05 | 0:03 | 0:02 | 0:03 | 0:03 | 0:02 | 0:01 | 0:00 | 0:40 | Lagtime [560,590]
| C | 11000 | 175400 | 182200 | 169933.333 | 199200 | 224133.333 | 200066.667 | 186266.667 | 167600 | 181533.333 | 13133.333 | 1200 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:22 | 0:22 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:08 | 0:22 | t at Max V [560,590]
|  | 0:00 | 0:02 | 0:02 | 0:01 | 0:03 | 0:07 | 0:02 | 0:02 | 0:01 | 0:02 | 0:00 | 0:18 | Lagtime [560,590]
| D | 6866.667 | 159333.333 | 200200 | 184133.333 | 214866.667 | 170133.333 | 201333.333 | 168133.333 | 168866.667 | 156933.333 | 17200 | -866.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:38 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:22 | 0:08 | 0:08 | 0:38 | t at Max V [560,590]
|  | 0:00 | 0:03 | 0:03 | 0:02 | 0:02 | 0:02 | 0:01 | 0:02 | 0:01 | 0:00 | 0:00 | 0:39 | Lagtime [560,590]
| E | -600 | 153866.667 | 156933.333 | 166600 | 219800 | 209266.667 | 173600 | 155600 | 159600 | 155000 | 9666.667 | -1066.667 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:08 | 0:38 | 0:22 | 0:38 | 0:22 | 0:38 | 0:22 | 0:22 | 0:22 | 0:22 | 0:08 | 0:22 | t at Max V [560,590]
|  | 0:00 | 0:02 | 0:01 | 0:02 | 0:04 | 0:04 | 0:02 | 0:01 | 0:02 | 0:01 | 0:00 | 0:25 | Lagtime [560,590]
| F | 933.333 | 173600 | 191533.333 | 213266.667 | 202666.667 | 206066.667 | 207933.333 | 168866.667 | 184333.333 | 164133.333 | 13266.667 | 1000 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:08 | 0:38 | 0:38 | 0:38 | 0:22 | 0:22 | 0:38 | 0:22 | 0:22 | 0:38 | 0:08 | 0:52 | t at Max V [560,590]
|  | 1:00 | 0:03 | 0:05 | 0:06 | 0:04 | 0:03 | 0:04 | 0:04 | 0:03 | 0:02 | 0:00 | 0:40 | Lagtime [560,590]
| G | -933.333 | 180533.333 | 179133.333 | 199666.667 | 187866.667 | 202333.333 | 178666.667 | 172466.667 | 158866.667 | 144333.333 | 17333.333 | 800 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 1:08 | 0:38 | 0:22 | 0:38 | 0:38 | 0:38 | 0:22 | 0:22 | 0:22 | 0:38 | 0:08 | 1:08 | t at Max V [560,590]
|  | 1:12 | 0:07 | 0:03 | 0:05 | 0:06 | 0:04 | 0:02 | 0:02 | 0:01 | 0:01 | 0:00 | 1:04 | Lagtime [560,590]
| H | 466.667 | 800 | -266.667 | -400 | 866.667 | -1000 | -1200 | 533.333 | 1333.333 | -1200 | 533.333 | 333.333 | Max V [560,590]
R-Squared [560,590] | bar: 1 to 12
|  | 0:38 | 0:08 | 0:52 | 0:08 | 0:08 | 0:38 | 1:22 | 1:22 | 0:38 | 0:38 | 1:08 | 1:22 | t at Max V [560,590]
|  | 0:30 | 0:00 | 0:52 | 0:00 | 0:00 | 0:29 | 1:28 | 1:19 | 0:28 | 0:36 | 1:02 | 1:00 | Lagtime [560,590]
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  | 12: Bitmap [560,590]
B |  | 12: Bitmap [560,590]
C |  | 12: Bitmap [560,590]
D |  | 12: Bitmap [560,590]
E |  | 12: Bitmap [560,590]
F |  | 12: Bitmap [560,590]
G |  | 12: Bitmap [560,590]
H |  | 12: Bitmap [560,590]
0 min | blank | 0 | 10uM | 25uM | 50uM | 75uM | 100uM | 0 | 0 | 0 | 0.1% | 12
B | 778 | 3221 | 3281 | 3186 | 3172 | 3148 | 3108 | 2874 | 3216 | 2917 | 3608 | 7 | 560,590 Read#1
C | 1121 | 3091 | 3020 | 3150 | 2981 | 2878 | 2998 | 3194 | 3109 | 2971 | 4111 | 3 | 560,590 Read#1
D | 1055 | 2921 | 3186 | 3074 | 3025 | 2923 | 3114 | 2970 | 3235 | 2751 | 2953 | 5 | 560,590 Read#1
E | 1088 | 2828 | 3193 | 3149 | 3149 | 3082 | 3034 | 2771 | 2692 | 2751 | 2894 | 5 | 560,590 Read#1
F | 46.669 | 3097 | 3027 | 2708 | 2758 | 2812 | 2789 | 2649 | 2757 | 2660 | 2400 | 0 | 560,590 Read#1
G | 4.2894 | 2578 | 2481 | 2770 | 2567 | 2746 | 2670 | 2478 | 2630 | 2642 | 2431 | 3 | 560,590 Read#1
average |  | 2956 | 3031.3333 | 3006.1667 | 2942 | 2931.5 | 2952.1667 | 2822.6667 | 2939.8333 | 2782 | 2669.5
stdev |  | 231.8724 | 288.2379 | 211.0492 | 236.0678 | 155.6583 | 181.9411 | 250.5415 | 276.7146 | 134.4262 | 294.5533
CV |  | 7.8441 | 9.5086 | 7.0205 | 8.0241 | 5.3099 | 6.163 | 8.8761 | 9.4126 | 4.832 | 11.034
blank sub |  | 1868 | 1943.3333 | 1918.1667 | 1854 | 1843.5 | 1864.1667 | 1734.6667 | 1851.8333 | 1694 | 1581.5
%control |  | 100 | 104.0328 | 102.6856 | 99.2505 | 98.6884 | 99.7948 | 92.8622 | 99.1345 | 90.6852 | 84.6627
15min | blank | 0 | 10uM | 25uM | 50uM | 75uM | 100uM | 0 | 0 | 0 | 0.1% | 12
B | 974 | 5535 | 5890 | 5346 | 5794 | 6008 | 5654 | 5045 | 5654 | 5226 | 3810 | 0 | 560,590 Read#2
C | 1286 | 5399 | 5453 | 5559 | 5460 | 5603 | 5500 | 5602 | 5437 | 5338 | 4308 | 0 | 560,590 Read#2
D | 1158 | 5106 | 5618 | 5448 | 5804 | 5200 | 5939 | 5375 | 5649 | 5105 | 3211 | 1 | 560,590 Read#2
E | 1139.3333 | 4949 | 5328 | 5387 | 5656 | 5400 | 5364 | 4977 | 4800 | 4871 | 3039 | 16 | 560,590 Read#2
F | 156.8354 | 5325 | 5374 | 5003 | 5040 | 5254 | 5238 | 4550 | 5059 | 4831 | 2599 | 5 | 560,590 Read#2
G | 13.7655 | 4485 | 4654 | 4978 | 4698 | 5188 | 5038 | 4664 | 4923 | 4671 | 2691 | 0 | 560,590 Read#2
average |  | 5133.1667 | 5386.1667 | 5286.8333 | 5408.6667 | 5442.1667 | 5455.5 | 5035.5 | 5253.6667 | 5007 | 3276.3333
stdev |  | 380.4505 | 412.7132 | 240.6337 | 449.342 | 318.2656 | 317.8489 | 403.3404 | 375.0241 | 256.7076 | 665.0004
CV |  | 7.4116 | 7.6625 | 4.5516 | 8.3078 | 5.8481 | 5.8262 | 8.0099 | 7.1383 | 5.127 | 20.2971 |  | 560,590 Read#3
blank sub |  | 3993.8333 | 4246.8333 | 4147.5 | 4269.3333 | 4302.8333 | 4316.1667 | 3896.1667 | 4114.3333 | 3867.6667 | 2137 |  | 560,590 Read#3
%control |  | 100 | 106.3348 | 103.8476 | 106.8981 | 107.7369 | 108.0708 | 97.5546 | 103.0172 | 96.841 | 53.5075 |  | 560,590 Read#3
560,590 Read#3
30min | blank | 0 | 10uM | 25uM | 50uM | 75uM | 100uM | 0 | 0 | 0 | 0.1% | 12 | 560,590 Read#3
B | 1128 | 8791 | 9222 | 8130 | 9031 | 9242 | 8961 | 7712 | 8394 | 7745 | 3862 | 0 | 560,590 Read#3
C | 1430 | 8030 | 8186 | 8108 | 8448 | 8079 | 8501 | 8396 | 7951 | 8014 | 4293 | 18
D | 1210 | 7220 | 8621 | 8176 | 9027 | 7752 | 8959 | 7610 | 8182 | 7390 | 3282 | 13
E | 1256 | 7061 | 7682 | 7836 | 8953 | 8481 | 7968 | 7311 | 7194 | 7196 | 3048 | 0 | 560,590 Read#4
F | 156.1666 | 7710 | 7853 | 7862 | 8080 | 8345 | 8264 | 7083 | 7824 | 7292 | 2610 | 5 | 560,590 Read#4
G | 12.4336 | 6659 | 7341 | 7772 | 7122 | 7957 | 7718 | 7251 | 7306 | 6780 | 2640 | 0 | 560,590 Read#4
average |  | 7578.5 | 8150.8333 | 7980.6667 | 8443.5 | 8309.3333 | 8395.1667 | 7560.5 | 7808.5 | 7402.8333 | 3289.1667
stdev |  | 765.9125 | 683.2321 | 176.1938 | 751.4963 | 526.9576 | 511.372 | 471.0646 | 476.0201 | 432.1465 | 674.7914
CV |  | 10.1064 | 8.3824 | 2.2078 | 8.9003 | 6.3418 | 6.0913 | 6.2306 | 6.0962 | 5.8376 | 20.5156 |  | 560,590 Read#3
blank sub |  | 6322.5 | 6894.8333 | 6724.6667 | 7187.5 | 7053.3333 | 7139.1667 | 6304.5 | 6552.5 | 6146.8333 | 2033.1667 |  | 560,590 Read#3
%control |  | 100 | 109.0523 | 106.3609 | 113.6813 | 111.5592 | 112.9168 | 99.7153 | 103.6378 | 97.2216 | 32.1576 |  | 560,590 Read#3
560,590 Read#4
45min | blank | 0 | 10uM | 25uM | 50uM | 75uM | 100uM | 0 | 0 | 0 | 0.1% | 12 | 560,590 Read#4
B | 1178 | 11657 | 11923 | 11043 | 11604 | 11882 | 11112 | 9914 | 10447 | 9808 | 3938 | 10 | 560,590 Read#4
C | 1460 | 10454 | 10783 | 10600 | 11435 | 11441 | 10908 | 10826 | 10322 | 10737 | 4405 | 0
D | 1210 | 9610 | 11111 | 10938 | 11776 | 10197 | 11378 | 10132 | 10456 | 9564 | 3302 | 0
E | 1282.6667 | 9369 | 9951 | 10335 | 11452 | 11620 | 9752 | 9600 | 9180 | 9513 | 3117 | 5 | 560,590 Read#5
F | 154.4064 | 10314 | 10726 | 11061 | 10617 | 11205 | 11383 | 9518 | 10290 | 9754 | 2640 | 5 | 560,590 Read#5
G | 12.0379 | 9367 | 9968 | 10767 | 9940 | 10992 | 10289 | 9245 | 9220 | 8945 | 2726 | 7 | 560,590 Read#5
average |  | 10128.5 | 10743.6667 | 10790.6667 | 11137.3333 | 11222.8333 | 10803.6667 | 9872.5 | 9985.8333 | 9720.1667 | 3354.6667
stdev |  | 883.4294 | 742.6438 | 283.9033 | 709.5981 | 590.8934 | 654.5724 | 560.6973 | 612.3928 | 584.9784 | 694.076
CV |  | 8.7222 | 6.9124 | 2.631 | 6.3713 | 5.2651 | 6.0588 | 5.6794 | 6.1326 | 6.0182 | 20.6899 |  | 560,590 Read#3
blank sub |  | 8845.8333 | 9461 | 9508 | 9854.6667 | 9940.1667 | 9521 | 8589.8333 | 8703.1667 | 8437.5 | 2072 |  | 560,590 Read#3
%control |  | 100 | 106.9543 | 107.4856 | 111.4046 | 112.3712 | 107.6326 | 97.106 | 98.3872 | 95.3839 | 23.4235 |  | 560,590 Read#3
[11 empty] | 4mM |  | 560,590 Read#5
60min | blank | 0 | 10uM | 25uM | 50uM | 75uM | 100uM | 0 | 0 | 0 | 0.1% | 12 | 560,590 Read#5
B | 1227 | 13536 | 13876 | 13265 | 13703 | 13788 | 12902 | 11320 | 11725 | 11318 | 3929 | 0 | 560,590 Read#5
C | 1473 | 12429 | 12909 | 12742 | 13301 | 12621 | 12485 | 12640 | 12044 | 12436 | 4443 | 11
D | 1220 | 11900 | 12841 | 12993 | 14375 | 12233 | 12968 | 12363 | 12518 | 11260 | 3316 | 1
E | 1306.6667 | 11289 | 11540 | 12239 | 13563 | 12809 | 11355 | 11779 | 11003 | 11360 | 3176 | 0 | 560,590 Read#6
F | 144.0914 | 12369 | 12725 | 12786 | 13076 | 13094 | 13974 | 11402 | 12174 | 11757 | 2680 | 20 | 560,590 Read#6
G | 11.0274 | 11289 | 11809 | 12930 | 12032 | 13288 | 12365 | 10670 | 10510 | 10320 | 2758 | 0 | 560,590 Read#6
average |  | 12135.3333 | 12616.6667 | 12825.8333 | 13341.6667 | 12972.1667 | 12674.8333 | 11695.6667 | 11662.3333 | 11408.5 | 3383.6667
stdev |  | 847.4254 | 842.0187 | 341.9505 | 779.0748 | 543.4127 | 860.1603 | 724.3482 | 762.3854 | 692.0456 | 686.132
CV |  | 6.9831 | 6.6739 | 2.6661 | 5.8394 | 4.1891 | 6.7864 | 6.1933 | 6.5372 | 6.0661 | 20.2778 |  | 560,590 Read#3
blank sub |  | 10828.6667 | 11310 | 11519.1667 | 12035 | 11665.5 | 11368.1667 | 10389 | 10355.6667 | 10101.8333 | 2077 |  | 560,590 Read#3
%control |  | 100 | 104.445 | 106.3766 | 111.1402 | 107.7279 | 104.9821 | 95.9398 | 95.632 | 93.2879 | 19.1806 |  | 560,590 Read#3
560,590 Read#6
75min | blank | 0 | 10uM | 25uM | 50uM | 75uM | 100uM | 0 | 0 | 0 | 0.1% | 12 | 560,590 Read#6
B | 1234 | 14756 | 15192 | 14534 | 14549 | 14629 | 13926 | 12312 | 12582 | 11943 | 3932 | 0 | 560,590 Read#6
C | 1508 | 13444 | 13738 | 13747 | 14213 | 13881 | 13907 | 13779 | 12348 | 13118 | 4441 | 13
D | 1243 | 12651 | 13760 | 14353 | 14659 | 13661 | 13758 | 13508 | 13343 | 11999 | 3369 | 4
E | 1328.3333 | 12282 | 12218 | 13473 | 15506 | 14582 | 11982 | 12697 | 12034 | 12363 | 3208 | 0 | 560,590 Read#7
F | 155.661 | 13206 | 13437 | 15024 | 13597 | 14963 | 15049 | 12558 | 12853 | 12639 | 2737 | 8 | 560,590 Read#7
G | 11.7185 | 12422 | 13362 | 14293 | 13677 | 14286 | 13198 | 10979 | 11149 | 11099 | 2817 | 12 | 560,590 Read#7
average |  | 13126.8333 | 13617.8333 | 14237.3333 | 14366.8333 | 14333.6667 | 13636.6667 | 12638.8333 | 12384.8333 | 12193.5 | 3417.3333
stdev |  | 916.2965 | 956.0687 | 556.4109 | 708.2972 | 490.8383 | 1009.609 | 992.6948 | 752.0456 | 689.9872 | 660.6338
CV |  | 6.9803 | 7.0207 | 3.9081 | 4.9301 | 3.4244 | 7.4036 | 7.8543 | 6.0723 | 5.6586 | 19.3319 |  | 560,590 Read#3
blank sub |  | 11798.5 | 12289.5 | 12909 | 13038.5 | 13005.3333 | 12308.3333 | 11310.5 | 11056.5 | 10865.1667 | 2089 |  | 560,590 Read#3
%control |  | 100 | 104.1615 | 109.4122 | 110.5098 | 110.2287 | 104.3212 | 95.8639 | 93.7111 | 92.0894 | 17.7056 |  | 560,590 Read#3
560,590 Read#7
90min | blank | 0 | 10uM | 25uM | 50uM | 75uM | 100uM | 0 | 0 | 0 | 0.1% | 12 | 560,590 Read#7
B | 1278 | 14852 | 15638 | 15148 | 14814 | 14589 | 14205 | 12673 | 12636 | 11990 | 3980 | 8 | 560,590 Read#7
C | 1531 | 13898 | 13735 | 13624 | 13672 | 13413 | 13383 | 13552 | 12545 | 13082 | 4417 | 2
D | 1261 | 12723 | 13688 | 14489 | 14324 | 13010 | 13564 | 12943 | 13253 | 12135 | 3381 | 0
E | 1356.6667 | 12841 | 12396 | 12754 | 13958 | 13517 | 11581 | 12498 | 12040 | 12778 | 3231 | 16 | 560,590 Read#7
F | 151.2162 | 13654 | 14002 | 14317 | 13558 | 14182 | 15168 | 12662 | 13283 | 13002 | 2775 | 9 | 560,590 Read#7
G | 11.1462 | 13124 | 13770 | 14612 | 13973 | 14743 | 13721 | 11551 | 11503 | 11365 | 2846 | 8 | 560,590 Read#7
average |  | 13515.3333 | 13871.5 | 14157.3333 | 14049.8333 | 13909 | 13603.6667 | 12646.5 | 12543.3333 | 12392 | 3438.3333
stdev |  | 798.4985 | 1037.04 | 845.8637 | 460.0245 | 698.6224 | 1180.1657 | 652.8334 | 692.0927 | 675.2152 | 646.2717
CV |  | 5.9081 | 7.476 | 5.9747 | 3.2742 | 5.0228 | 8.6753 | 5.1622 | 5.5176 | 5.4488 | 18.7961 |  | 560,590 Read#3
blank sub |  | 12158.6667 | 12514.8333 | 12800.6667 | 12693.1667 | 12552.3333 | 12247 | 11289.8333 | 11186.6667 | 11035.3333 | 2081.6667 |  | 560,590 Read#3
%control |  | 100 | 102.9293 | 105.2802 | 104.396 | 103.2377 | 100.7265 | 92.8542 | 92.0057 | 90.761 | 17.1208 |  | 560,590 Read#3